## Chloride concentrations
Abs(610 nm)
Replicate 1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Replicate 2 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Replicate 3 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.345 | 0.29 | 0.386 | 0.31 | 0.232 | 0.303 | 0.17 | 0.19 | 0.314 | 0.158 | 0.152 | 0.415 |  | A | 0.331 | 0.259 | 0.421 | 0.321 | 0.229 | 0.347 | 0.161 | 0.185 | 0.338 | 0.152 | 0.148 | 0.381 | A | 0.318 | 0.241 | 0.491 | 0.313 | 0.212 | 0.32 | 0.16 | 0.183 | 0.292 | 0.154 | 0.146 | 0.396
B | 0.153 | 0.153 | 0.152 | 0.317 | 0.445 | 0.174 | 0.149 | 0.156 | 0.475 | 0.507 | 0.387 | 0.299 |  | B | 0.158 | 0.154 | 0.155 | 0.398 | 0.419 | 0.196 | 0.149 | 0.162 | 0.473 | 0.484 | 0.408 | 0.336 | B | 0.153 | 0.151 | 0.153 | 0.316 | 0.407 | 0.175 | 0.144 | 0.149 | 0.43 | 0.442 | 0.365 | 0.315
C | 0.449 | 0.38 | 0.292 | 0.458 | 0.32 | 0.207 | 0.48 | 0.487 | 0.48 | 0.383 | 0.405 | 0.414 |  | C | 0.489 | 0.391 | 0.326 | 0.471 | 0.355 | 0.224 | 0.455 | 0.468 | 0.456 | 0.401 | 0.426 | 0.431 | C | 0.48 | 0.416 | 0.298 | 0.452 | 0.369 | 0.234 | 0.476 | 0.465 | 0.428 | 0.367 | 0.387 | 0.363
D | 0.393 | 0.322 | 0.307 | 0.154 | 0.511 | 0.415 | 0.16 | 0.152 | 0.298 | 0.465 | 0.151 | 0.166 |  | D | 0.414 | 0.367 | 0.386 | 0.178 | 0.489 | 0.488 | 0.158 | 0.147 | 0.353 | 0.547 | 0.155 | 0.164 | D | 0.423 | 0.394 | 0.355 | 0.151 | 0.528 | 0.437 | 0.157 | 0.148 | 0.31 | 0.432 | 0.142 | 0.158
E | 0.361 | 0.394 | 0.42 | 0.472 | 0.352 | 0.383 | 0.34 | 0.448 | 0.266 | 0.421 | 0.267 | 0.206 |  | E | 0.424 | 0.441 | 0.408 | 0.464 | 0.378 | 0.402 | 0.416 | 0.432 | 0.274 | 0.477 | 0.263 | 0.184 | E | 0.401 | 0.442 | 0.423 | 0.49 | 0.426 | 0.45 | 0.345 | 0.48 | 0.305 | 0.448 | 0.279 | 0.183
F | 0.458 | 0.359 | 0.491 | 0.343 | 0.385 | 0.176 | 0.379 | 0.422 | 0.173 | 0.226 | 0.154 | 0.213 |  | F | 0.497 | 0.385 | 0.503 | 0.434 | 0.464 | 0.169 | 0.421 | 0.458 | 0.163 | 0.229 | 0.173 | 0.214 | F | 0.492 | 0.386 | 0.497 | 0.447 | 0.496 | 0.169 | 0.396 | 0.463 | 0.16 | 0.215 | 0.166 | 0.224
G | 0.162 | 0.288 | 0.377 | 0.326 | 0.16 | 0.511 | 0.438 | 0.163 | 0.351 | 0.422 | 0.284 | 0.298 |  | G | 0.255 | 0.361 | 0.378 | 0.38 | 0.19 | 0.459 | 0.45 | 0.205 | 0.381 | 0.467 | 0.413 | 0.345 | G | 0.16 | 0.352 | 0.373 | 0.354 | 0.152 | 0.46 | 0.409 | 0.156 | 0.386 | 0.436 | 0.347 | 0.327
H | 0.393 | 0.198 | 0.431 | 0.265 | 0.348 | 0.458 | 0.458 | 0.241 | 0.447 | 0.479 | 0.43 | 0.151 |  | H | 0.44 | 0.283 | 0.47 | 0.37 | 0.42 | 0.45 | 0.443 | 0.413 | 0.392 | 0.399 | 0.447 | 0.147 | H | 0.403 | 0.239 | 0.436 | 0.358 | 0.402 | 0.347 | 0.448 | 0.28 | 0.414 | 0.459 | 0.414 | 0.144
A | 0.296 | 0.411 | 0.478 | 0.155 | 0.164 | 0.192 | 0.476 | 0.476 | 0.332 | 0.153 | 0.431 | 0.153 |  | A | 0.382 | 0.455 | 0.473 | 0.153 | 0.183 | 0.213 | 0.461 | 0.482 | 0.331 | 0.164 | 0.473 | 0.166 | A | 0.373 | 0.47 | 0.53 | 0.186 | 0.211 | 0.257 | 0.512 | 0.536 | 0.378 | 0.185 | 0.478 | 0.178
B | 0.418 | 0.381 | 0.445 | 0.458 | 0.152 | 0.43 | 0.406 | 0.174 | 0.437 | 0.437 | 0.449 | 0.159 |  | B | 0.446 | 0.483 | 0.421 | 0.417 | 0.152 | 0.475 | 0.463 | 0.165 | 0.421 | 0.464 | 0.417 | 0.161 | B | 0.448 | 0.475 | 0.464 | 0.5 | 0.184 | 0.494 | 0.499 | 0.208 | 0.446 | 0.481 | 0.452 | 0.196
C | 0.479 | 0.155 | 0.19 | 0.425 | 0.152 | 0.15 | 0.15 | 0.393 | 0.155 | 0.155 | 0.171 | 0.363 |  | C | 0.481 | 0.155 | 0.232 | 0.459 | 0.153 | 0.159 | 0.148 | 0.374 | 0.153 | 0.156 | 0.198 | 0.401 | C | 0.514 | 0.185 | 0.278 | 0.491 | 0.186 | 0.19 | 0.179 | 0.434 | 0.184 | 0.185 | 0.21 | 0.342
D | 0.152 | 0.175 | 0.16 | 0.154 | 0.152 | 0.192 | 0.479 | 0.503 | 0.496 | 0.154 | 0.346 | 0.151 |  | D | 0.152 | 0.181 | 0.166 | 0.153 | 0.15 | 0.205 | 0.455 | 0.454 | 0.421 | 0.151 | 0.326 | 0.154 | D | 0.185 | 0.214 | 0.198 | 0.18 | 0.179 | 0.237 | 0.493 | 0.509 | 0.486 | 0.184 | 0.374 | 0.177
E | 0.152 | 0.159 | 0.159 | 0.15 | 0.148 | 0.413 | 0.16 | 0.287 | 0.153 | 0.459 | 0.167 | 0.301 |  | E | 0.153 | 0.156 | 0.154 | 0.151 | 0.152 | 0.428 | 0.159 | 0.277 | 0.149 | 0.398 | 0.168 | 0.311 | E | 0.172 | 0.183 | 0.186 | 0.185 | 0.188 | 0.541 | 0.202 | 0.381 | 0.183 | 0.474 | 0.206 | 0.354
F | 0.152 | 0.154 | 0.177 | 0.167 | 0.241 | 0.158 | 0.144 | 0.505 | 0.315 | 0.151 | 0.16 | 0.464 |  | F | 0.158 | 0.155 | 0.19 | 0.186 | 0.257 | 0.17 | 0.153 | 0.463 | 0.306 | 0.153 | 0.176 | 0.46 | F | 0.184 | 0.18 | 0.235 | 0.21 | 0.333 | 0.205 | 0.19 | 0.497 | 0.399 | 0.183 | 0.21 | 0.515
G | 0.154 | 0.14 | 0.153 | 0.17 | 0.399 | 0.372 | 0.329 | 0.153 | 0.16 | 0.302 | 0.161 | 0.182 |  | G | 0.162 | 0.16 | 0.154 | 0.187 | 0.413 | 0.4 | 0.355 | 0.156 | 0.154 | 0.296 | 0.157 | 0.185 | G | 0.183 | 0.178 | 0.19 | 0.23 | 0.468 | 0.507 | 0.426 | 0.192 | 0.192 | 0.341 | 0.195 | 0.228
H | 0.15 | 0.154 | 0.154 | 0.451 | 0.461 | 0.144 | 0.145 | 0.15 | 0.247 | 0.16 | 0.489 | 0.445 |  | H | 0.153 | 0.158 | 0.155 | 0.41 | 0.413 | 0.144 | 0.146 | 0.145 | 0.249 | 0.165 | 0.475 | 0.421 | H | 0.204 | 0.203 | 0.196 | 0.531 | 0.572 | 0.201 | 0.2 | 0.203 | 0.384 | 0.221 | 0.573 | 0.529
A | 0.346 | 0.176 | 0.223 | 0.512 | 0.203 | 0.496 | 0.32 | 0.207 | 0.261 | 0.194 | 0.389 | 0.503 |  | A | 0.339 | 0.186 | 0.233 | 0.485 | 0.2 | 0.45 | 0.335 | 0.2 | 0.279 | 0.184 | 0.505 | 0.463 | A | 0.365 | 0.185 | 0.234 | 0.54 | 0.202 | 0.522 | 0.391 | 0.208 | 0.289 | 0.186 | 0.456 | 0.528
B | 0.178 | 0.18 | 0.19 | 0.504 | 0.526 | 0.452 | 0.521 | 0.252 | 0.511 | 0.297 | 0.482 | 0.543 |  | B | 0.178 | 0.179 | 0.187 | 0.504 | 0.496 | 0.461 | 0.45 | 0.271 | 0.457 | 0.387 | 0.437 | 0.474 | B | 0.187 | 0.185 | 0.193 | 0.506 | 0.52 | 0.482 | 0.51 | 0.304 | 0.517 | 0.334 | 0.502 | 0.508
C | 0.385 | 0.422 | 0.279 | 0.492 | 0.189 | 0.458 | 0.504 | 0.428 | 0.43 | 0.188 | 0.19 | 0.486 |  | C | 0.387 | 0.445 | 0.298 | 0.51 | 0.188 | 0.422 | 0.509 | 0.425 | 0.503 | 0.227 | 0.369 | 0.424 | C | 0.422 | 0.477 | 0.302 | 0.535 | 0.186 | 0.425 | 0.526 | 0.432 | 0.526 | 0.191 | 0.191 | 0.506
D | 0.459 | 0.192 | 0.292 | 0.502 | 0.503 | 0.21 | 0.316 | 0.511 | [5 empty] | D | 0.424 | 0.238 | 0.284 | 0.459 | 0.503 | 0.215 | 0.357 | 0.511 |  |  |  |  | D | 0.461 | 0.181 | 0.271 | 0.494 | 0.486 | 0.198 | 0.324 | 0.507
E | 0.511 | 0.546 | 0.188 | 0.192 | 0.22 | 0.18 | [7 empty] | E | 0.453 | 0.503 | 0.444 | 0.186 | 0.206 | 0.188 | [6 empty] | E | 0.504 | 0.51 | 0.184 | 0.184 | 0.22 | 0.18
Calibration 1 (Plate 1.1 - 2.2) | [11 empty] | Calibration 2 (Plate 2.3 - 3.3)
mM Chloride | 0 | 1 | 2 | 3 | 4 | 6 | 8 | 10 |  |  |  | mM Chloride | 0 | 1 | 2 | 3 | 4 | 6 | 8 | 10
Rep 1 | 0.154 | 0.204 | 0.22 | 0.264 | 0.288 | 0.377 | 0.449 | 0.534 |  |  |  | Rep 1 | 0.207 | 0.246 | 0.288 | 0.319 | 0.37 | 0.449 | 0.539 | 0.62
Rep 2 | 0.163 | 0.204 | 0.223 | 0.24 | 0.294 | 0.373 | 0.423 | 0.539 |  |  |  | Rep 2 | 0.205 | 0.241 | 0.277 | 0.322 | 0.356 | 0.447 | 0.539 | 0.596
Calibration 1 (Plate 1.1 - 2.2) | [11 empty] | Calibration 2 (Plate 2.3 - 3.3)
mM Chloride | 0 | 1 | 2 | 3 | 4 | 6 | 8 | 10 |  |  |  | mM Chloride | 0 | 1 | 2 | 3 | 4 | 6 | 8 | 10
Average | 0.1585 | 0.204 | 0.2215 | 0.252 | 0.291 | 0.375 | 0.436 | 0.5365 |  |  |  | Average | 0.206 | 0.2435 | 0.2825 | 0.3205 | 0.363 | 0.448 | 0.539 | 0.608
| slope | intercept | [9 empty] | slope | intercept
| 26.9186 | -4.0763 | [9 empty] | 24.3527 | -4.9142
Matrix | Number indicates which aminoacid is mutated to alanine
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
B | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
C | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37
D | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49
E | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61
F | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73
G | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85
H | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97
A | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109
B | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121
C | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133
D | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145
E | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157
F | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169
G | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 | 181
H | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193
A | 194 | 195 | 196 | 197 | 198 | 199 | 200 | 201 | 202 | 203 | 204 | 205
B | 206 | 207 | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215 | 216 | 217
C | 218 | 219 | 220 | 221 | 222 | 223 | 224 | 225 | 226 | 227 | 228 | 229
D | 230 | 231 | 232 | 233 | 234 | 235 | 236 | 237
E | WT | SP1 | SP2 | SP3 | SP4 | SP5
Replicate 1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Replicate 2 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Replicate 3 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 5.2107 | 3.7301 | 6.3143 | 4.2685 | 2.1689 | 4.0801 | 0.49991 | 1.0383 | 4.3762 | 0.17688 | 0.015373 | 7.095 |  | A | 4.8338 | 2.8957 | 7.2565 | 4.5646 | 2.0881 | 5.2645 | 0.25764 | 0.90369 | 5.0222 | 0.015373 | -0.092302 | 6.1797 | A | 2.8299 | 0.95477 | 7.043 | 2.7082 | 0.24854 | 2.8786 | -1.0178 | -0.45768 | 2.1968 | -1.1639 | -1.3587 | 4.7294
B | 0.042291 | 0.042291 | 0.015373 | 4.4569 | 7.9025 | 0.60758 | -0.065383 | 0.12305 | 8.7101 | 9.5715 | 6.3412 | 3.9724 |  | B | 0.17688 | 0.06921 | 0.096128 | 6.6373 | 7.2026 | 1.1998 | -0.065383 | 0.28456 | 8.6562 | 8.9523 | 6.9065 | 4.9684 | B | -1.1883 | -1.237 | -1.1883 | 2.7812 | 4.9973 | -0.65251 | -1.4074 | -1.2857 | 5.5574 | 5.8497 | 3.9745 | 2.7569
C | 8.0102 | 6.1528 | 3.784 | 8.2525 | 4.5377 | 1.4959 | 8.8447 | 9.0331 | 8.8447 | 6.2336 | 6.8258 | 7.068 |  | C | 9.0869 | 6.4489 | 4.6992 | 8.6024 | 5.4798 | 1.9535 | 8.1717 | 8.5216 | 8.1986 | 6.7181 | 7.3911 | 7.5257 | C | 6.7751 | 5.2165 | 2.3429 | 6.0932 | 4.0719 | 0.7843 | 6.6777 | 6.4098 | 5.5087 | 4.0232 | 4.5103 | 3.9258
D | 6.5027 | 4.5915 | 4.1878 | 0.06921 | 9.6791 | 7.095 | 0.23072 | 0.015373 | 3.9455 | 8.4409 | -0.011546 | 0.39223 |  | D | 7.068 | 5.8029 | 6.3143 | 0.71526 | 9.0869 | 9.06 | 0.17688 | -0.11922 | 5.426 | 10.6482 | 0.096128 | 0.3384 | D | 5.387 | 4.6807 | 3.731 | -1.237 | 7.944 | 5.7279 | -1.0909 | -1.31 | 2.6351 | 5.6061 | -1.4561 | -1.0665
E | 5.6414 | 6.5297 | 7.2295 | 8.6293 | 5.3991 | 6.2336 | 5.0761 | 7.9833 | 3.0841 | 7.2565 | 3.111 | 1.469 |  | E | 7.3372 | 7.7948 | 6.9065 | 8.414 | 6.099 | 6.745 | 7.1219 | 7.5526 | 3.2994 | 8.7639 | 3.0033 | 0.87677 | E | 4.8512 | 5.8497 | 5.387 | 7.0186 | 5.46 | 6.0445 | 3.4875 | 6.7751 | 2.5133 | 5.9958 | 1.8802 | -0.45768
F | 8.2525 | 5.5875 | 9.1408 | 5.1568 | 6.2874 | 0.66142 | 6.1259 | 7.2834 | 0.58066 | 2.0073 | 0.06921 | 1.6574 |  | F | 9.3023 | 6.2874 | 9.4638 | 7.6064 | 8.414 | 0.47299 | 7.2565 | 8.2525 | 0.31148 | 2.0881 | 0.58066 | 1.6843 | F | 7.0673 | 4.4859 | 7.1891 | 5.9714 | 7.1647 | -0.79862 | 4.7294 | 6.3611 | -1.0178 | 0.3216 | -0.87168 | 0.54078
G | 0.28456 | 3.6763 | 6.0721 | 4.6992 | 0.23072 | 9.6791 | 7.7141 | 0.31148 | 5.3722 | 7.2834 | 3.5686 | 3.9455 |  | G | 2.788 | 5.6414 | 6.099 | 6.1528 | 1.0383 | 8.2794 | 8.0371 | 1.4421 | 6.1797 | 8.4947 | 7.0411 | 5.2107 | G | -1.0178 | 3.6579 | 4.1693 | 3.7066 | -1.2126 | 6.288 | 5.046 | -1.1152 | 4.4859 | 5.7036 | 3.5362 | 3.0491
H | 6.5027 | 1.2536 | 7.5257 | 3.0572 | 5.2914 | 8.2525 | 8.2525 | 2.4111 | 7.9564 | 8.8177 | 7.4987 | -0.011546 |  | H | 7.7679 | 3.5417 | 8.5755 | 5.8836 | 7.2295 | 8.0371 | 7.8487 | 7.0411 | 6.4758 | 6.6643 | 7.9564 | -0.11922 | H | 4.8999 | 0.90607 | 5.7036 | 3.804 | 4.8756 | 3.5362 | 5.9958 | 1.9045 | 5.1678 | 6.2637 | 5.1678 | -1.4074
A | 3.8916 | 6.9873 | 8.7908 | 0.096128 | 0.3384 | 1.0921 | 8.737 | 8.737 | 4.8607 | 0.042291 | 7.5257 | 0.042291 |  | A | 6.2066 | 8.1717 | 8.6562 | 0.042291 | 0.84985 | 1.6574 | 8.3332 | 8.8985 | 4.8338 | 0.3384 | 8.6562 | 0.39223 | A | 4.1693 | 6.5315 | 7.9927 | -0.38463 | 0.22419 | 1.3444 | 7.5544 | 8.1388 | 4.2911 | -0.40898 | 6.7264 | -0.57945
B | 7.1757 | 6.1797 | 7.9025 | 8.2525 | 0.015373 | 7.4987 | 6.8527 | 0.60758 | 7.6872 | 7.6872 | 8.0102 | 0.2038 |  | B | 7.9294 | 8.9254 | 7.2565 | 7.1488 | 0.015373 | 8.7101 | 8.387 | 0.36531 | 7.2565 | 8.414 | 7.1488 | 0.25764 | B | 5.9958 | 6.6533 | 6.3854 | 7.2621 | -0.43333 | 7.116 | 7.2378 | 0.15113 | 5.9471 | 6.7994 | 6.0932 | -0.1411
C | 8.8177 | 0.096128 | 1.0383 | 7.3641 | 0.015373 | -0.038465 | -0.038465 | 6.5027 | 0.096128 | 0.096128 | 0.52683 | 5.6952 |  | C | 8.8716 | 0.096128 | 2.1689 | 8.2794 | 0.042291 | 0.2038 | -0.092302 | 5.9913 | 0.042291 | 0.12305 | 1.2536 | 6.7181 | C | 7.6031 | -0.40898 | 1.8558 | 7.043 | -0.38463 | -0.28722 | -0.5551 | 5.6548 | -0.43333 | -0.40898 | 0.19984 | 3.4144
D | 0.015373 | 0.6345 | 0.23072 | 0.06921 | 0.015373 | 1.0921 | 8.8177 | 9.4638 | 9.2754 | 0.06921 | 5.2376 | -0.011546 |  | D | 0.015373 | 0.79601 | 0.39223 | 0.042291 | -0.038465 | 1.4421 | 8.1717 | 8.1448 | 7.2565 | -0.011546 | 4.6992 | 0.06921 | D | -0.40898 | 0.29725 | -0.092394 | -0.53074 | -0.5551 | 0.85736 | 7.0917 | 7.4813 | 6.9212 | -0.43333 | 4.1937 | -0.6038
E | 0.015373 | 0.2038 | 0.2038 | -0.038465 | -0.092302 | 7.0411 | 0.23072 | 3.6494 | 0.042291 | 8.2794 | 0.41915 | 4.0262 |  | E | 0.042291 | 0.12305 | 0.06921 | -0.011546 | 0.015373 | 7.4449 | 0.2038 | 3.3802 | -0.065383 | 6.6373 | 0.44607 | 4.2954 | E | -0.72556 | -0.45768 | -0.38463 | -0.40898 | -0.33592 | 8.2606 | 0.005017 | 4.3642 | -0.45768 | 6.629 | 0.10243 | 3.7066
F | 0.015373 | 0.06921 | 0.68834 | 0.41915 | 2.4111 | 0.17688 | -0.19998 | 9.5176 | 4.4031 | -0.011546 | 0.23072 | 8.414 |  | F | 0.17688 | 0.096128 | 1.0383 | 0.9306 | 2.8418 | 0.49991 | 0.042291 | 8.387 | 4.1608 | 0.042291 | 0.66142 | 8.3063 | F | -0.43333 | -0.53074 | 0.80866 | 0.19984 | 3.1952 | 0.078075 | -0.28722 | 7.1891 | 4.8025 | -0.45768 | 0.19984 | 7.6274
G | 0.06921 | -0.30765 | 0.042291 | 0.49991 | 6.6643 | 5.9375 | 4.78 | 0.042291 | 0.23072 | 4.0532 | 0.25764 | 0.82293 |  | G | 0.28456 | 0.23072 | 0.06921 | 0.95752 | 7.0411 | 6.6912 | 5.4798 | 0.12305 | 0.06921 | 3.8916 | 0.14997 | 0.90369 | G | -0.45768 | -0.57945 | -0.28722 | 0.68689 | 6.4828 | 7.4326 | 5.46 | -0.23851 | -0.23851 | 3.39 | -0.16545 | 0.63819
H | -0.038465 | 0.06921 | 0.06921 | 8.064 | 8.3332 | -0.19998 | -0.17306 | -0.038465 | 2.5726 | 0.23072 | 9.0869 | 7.9025 |  | H | 0.042291 | 0.17688 | 0.096128 | 6.9604 | 7.0411 | -0.19998 | -0.14614 | -0.17306 | 2.6265 | 0.36531 | 8.7101 | 7.2565 | H | 0.053722 | 0.02937 | -0.1411 | 8.0171 | 9.0155 | -0.019336 | -0.043688 | 0.02937 | 4.4372 | 0.46772 | 9.0399 | 7.9684
A | 5.2376 | 0.66142 | 1.9266 | 9.7061 | 1.3882 | 9.2754 | 4.5377 | 1.4959 | 2.9495 | 1.146 | 6.3951 | 9.4638 |  | A | 3.3413 | -0.38463 | 0.75995 | 6.8968 | -0.043688 | 6.0445 | 3.2439 | -0.043688 | 1.8802 | -0.43333 | 7.3839 | 6.3611 | A | 3.9745 | -0.40898 | 0.7843 | 8.2362 | 0.005017 | 7.7979 | 4.6077 | 0.15113 | 2.1237 | -0.38463 | 6.1906 | 7.944
B | 0.71526 | 0.76909 | 1.0383 | 9.4907 | 10.0829 | 8.0909 | 9.9483 | 2.7072 | 9.6791 | 3.9186 | 8.8985 | 10.5405 |  | B | -0.57945 | -0.5551 | -0.36027 | 7.3595 | 7.1647 | 6.3124 | 6.0445 | 1.6854 | 6.215 | 4.5103 | 5.7279 | 6.629 | B | -0.36027 | -0.40898 | -0.21416 | 7.4082 | 7.7492 | 6.8238 | 7.5057 | 2.489 | 7.6761 | 3.2196 | 7.3108 | 7.4569
C | 6.2874 | 7.2834 | 3.434 | 9.1677 | 1.0114 | 8.2525 | 9.4907 | 7.4449 | 7.4987 | 0.98444 | 1.0383 | 9.0062 |  | C | 4.5103 | 5.9227 | 2.3429 | 7.5057 | -0.33592 | 5.3626 | 7.4813 | 5.4357 | 7.3352 | 0.61383 | 4.0719 | 5.4113 | C | 5.3626 | 6.702 | 2.4403 | 8.1145 | -0.38463 | 5.4357 | 7.8953 | 5.6061 | 7.8953 | -0.26286 | -0.26286 | 7.4082
D | 8.2794 | 1.0921 | 3.784 | 9.4369 | 9.4638 | 1.5766 | 4.43 | 9.6791 | [5 empty] | D | 5.4113 | 0.88171 | 2.0019 | 6.2637 | 7.3352 | 0.3216 | 3.7797 | 7.53 |  |  |  |  | D | 6.3124 | -0.50639 | 1.6854 | 7.116 | 6.9212 | -0.092394 | 2.976 | 7.4326
E | 9.6791 | 10.6213 | 0.98444 | 1.0921 | 1.8458 | 0.76909 | [7 empty] | E | 6.1175 | 7.3352 | 5.8984 | -0.38463 | 0.10243 | -0.33592 | [6 empty] | E | 7.3595 | 7.5057 | -0.43333 | -0.43333 | 0.44337 | -0.53074
mean Chloride concentration [mM] | [13 empty] | SD Chloride concentration [mM] n=3
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4.2915 | 2.5269 | 6.8712 | 3.8471 | 1.5018 | 4.0744 | -0.08675 | 0.49476 | 3.8651 | -0.32389 | -0.47855 | 6.0014 |  | A | 1.2797 | 1.424 | 0.49399 | 0.99739 | 1.0861 | 1.1929 | 0.81536 | 0.82758 | 1.4805 | 0.73195 | 0.76416 | 1.1928
B | -0.32303 | -0.37516 | -0.35892 | 4.6252 | 6.7008 | 0.38495 | -0.51274 | -0.29269 | 7.6412 | 8.1245 | 5.7408 | 3.8992 |  | B | 0.75233 | 0.74647 | 0.71937 | 1.9336 | 1.5162 | 0.946 | 0.77484 | 0.86373 | 1.8048 | 1.9942 | 1.5555 | 1.1076
C | 7.9574 | 5.9394 | 3.6087 | 7.6493 | 4.6965 | 1.4112 | 7.898 | 7.9882 | 7.5173 | 5.6583 | 6.2424 | 6.1732 |  | C | 1.1568 | 0.64332 | 1.1879 | 1.359 | 0.71727 | 0.58918 | 1.1091 | 1.3906 | 1.7692 | 1.4366 | 1.5264 | 1.9597
D | 6.3193 | 5.025 | 4.7444 | -0.15084 | 8.9034 | 7.2943 | -0.22775 | -0.47129 | 4.0022 | 8.2317 | -0.45719 | -0.11196 |  | D | 0.85543 | 0.67509 | 1.3787 | 0.99454 | 0.88201 | 1.675 | 0.74796 | 0.72948 | 1.3963 | 2.5275 | 0.8668 | 0.8271
E | 5.9433 | 6.7247 | 6.5077 | 8.0206 | 5.6527 | 6.341 | 5.2285 | 7.437 | 2.9656 | 7.3387 | 2.6648 | 0.62935 |  | E | 1.2702 | 0.98715 | 0.98391 | 0.87444 | 0.38769 | 0.36241 | 1.822 | 0.61234 | 0.40621 | 1.3859 | 0.68167 | 0.98687
F | 8.2073 | 5.4536 | 8.5979 | 6.2449 | 7.2887 | 0.11193 | 6.0373 | 7.299 | -0.041886 | 1.4724 | -0.073936 | 1.2942 |  | F | 1.1182 | 0.90818 | 1.2307 | 1.2475 | 1.0687 | 0.79417 | 1.2658 | 0.94579 | 0.85581 | 0.99739 | 0.73668 | 0.6526
G | 0.68492 | 4.3252 | 5.4468 | 4.8529 | 0.018793 | 8.0822 | 6.9324 | 0.21278 | 5.3459 | 7.1606 | 4.7153 | 4.0684 |  | G | 1.9342 | 1.1399 | 1.1064 | 1.2303 | 1.1403 | 1.7041 | 1.6416 | 1.2815 | 0.84721 | 1.3996 | 2.0143 | 1.086
H | 6.3902 | 1.9005 | 7.2682 | 4.2483 | 5.7988 | 6.6086 | 7.3656 | 3.7856 | 6.5333 | 7.2486 | 6.8743 | -0.51274 |  | H | 1.4373 | 1.4319 | 1.4532 | 1.4647 | 1.2564 | 2.663 | 1.2034 | 2.8307 | 1.3952 | 1.3736 | 1.4955 | 0.77671
A | 4.7559 | 7.2302 | 8.4799 | -0.082069 | 0.47081 | 1.3646 | 8.2082 | 8.5914 | 4.6619 | -0.0094309 | 7.6361 | -0.048308 |  | A | 1.2641 | 0.84663 | 0.42727 | 0.2634 | 0.33318 | 0.28319 | 0.60115 | 0.40021 | 0.32138 | 0.37636 | 0.96966 | 0.49214
B | 7.0336 | 7.2528 | 7.1815 | 7.5545 | -0.1342 | 7.7749 | 7.4925 | 0.37468 | 6.9636 | 7.6335 | 7.0841 | 0.10678 |  | B | 0.97462 | 1.4677 | 0.76132 | 0.60713 | 0.25906 | 0.83215 | 0.79827 | 0.22837 | 0.90626 | 0.80861 | 0.96013 | 0.21635
C | 8.4308 | -0.072241 | 1.6877 | 7.5622 | -0.10899 | -0.040626 | -0.22862 | 6.0496 | -0.098304 | -0.063268 | 0.6601 | 5.2759 |  | C | 0.71734 | 0.29162 | 0.58375 | 0.64155 | 0.23909 | 0.24552 | 0.28401 | 0.42695 | 0.29139 | 0.2997 | 0.53939 | 1.6913
D | -0.12608 | 0.57592 | 0.17685 | -0.13975 | -0.19273 | 1.1305 | 8.027 | 8.3633 | 7.8177 | -0.12522 | 4.7102 | -0.18205 |  | D | 0.245 | 0.25449 | 0.24676 | 0.33888 | 0.31497 | 0.29423 | 0.87209 | 1.0091 | 1.2735 | 0.26987 | 0.52203 | 0.36748
E | -0.22263 | -0.043612 | -0.037205 | -0.153 | -0.13762 | 7.5822 | 0.14651 | 3.7979 | -0.16026 | 7.1819 | 0.32255 | 4.0094 |  | E | 0.43576 | 0.36086 | 0.30831 | 0.2221 | 0.17998 | 0.62122 | 0.12328 | 0.50852 | 0.26314 | 0.95046 | 0.19111 | 0.29476
F | -0.080359 | -0.1218 | 0.84509 | 0.51653 | 2.8161 | 0.25162 | -0.1483 | 8.3646 | 4.4555 | -0.14231 | 0.36399 | 8.1159 |  | F | 0.31617 | 0.35441 | 0.17779 | 0.37499 | 0.39268 | 0.22062 | 0.17072 | 1.1644 | 0.32403 | 0.27444 | 0.25804 | 0.42644
G | -0.034639 | -0.21879 | -0.058572 | 0.71477 | 6.7294 | 6.6871 | 5.2399 | -0.024391 | 0.020474 | 3.7783 | 0.080718 | 0.78827 |  | G | 0.38186 | 0.41233 | 0.19847 | 0.23008 | 0.28478 | 0.74758 | 0.39848 | 0.18978 | 0.23838 | 0.34579 | 0.21988 | 0.1361
H | 0.019183 | 0.091821 | 0.0080795 | 7.6805 | 8.13 | -0.13976 | -0.12096 | -0.060717 | 3.2121 | 0.35458 | 8.9456 | 7.7091 |  | H | 0.05025 | 0.076312 | 0.12989 | 0.62408 | 1.0028 | 0.10429 | 0.068261 | 0.10303 | 1.0613 | 0.11886 | 0.20535 | 0.39338
A | 4.1845 | -0.044063 | 1.1569 | 8.2797 | 0.44985 | 7.7059 | 4.1298 | 0.53445 | 2.3178 | 0.10933 | 6.6565 | 7.923 |  | A | 0.9654 | 0.61109 | 0.66664 | 1.4051 | 0.81302 | 1.6174 | 0.76796 | 0.83832 | 0.56046 | 0.89807 | 0.63816 | 1.5515
B | -0.074822 | -0.064994 | 0.15462 | 8.0862 | 8.3323 | 7.0757 | 7.8328 | 2.2939 | 7.8567 | 3.8828 | 7.3124 | 8.2088 |  | B | 0.69295 | 0.72603 | 0.76875 | 1.2166 | 1.544 | 0.91566 | 1.9724 | 0.53816 | 1.7391 | 0.64609 | 1.5853 | 2.0613
C | 5.3868 | 6.636 | 2.7391 | 8.2626 | 0.096937 | 6.3502 | 8.2891 | 6.1622 | 7.5764 | 0.44514 | 1.6158 | 7.2752 |  | C | 0.88881 | 0.68272 | 0.60382 | 0.84086 | 0.79229 | 1.6478 | 1.061 | 1.1141 | 0.28802 | 0.64054 | 2.2243 | 1.8011
D | 6.6677 | 0.48915 | 2.4904 | 7.6055 | 7.9067 | 0.60195 | 3.7286 | 8.2139 | [5 empty] | D | 1.4667 | 0.86855 | 1.1314 | 1.6423 | 1.3643 | 0.86912 | 0.72833 | 1.2699
E | 7.7187 | 8.4874 | 2.1498 | 0.091386 | 0.79721 | -0.032524 | [7 empty] | E | 1.8078 | 1.85 | 3.3228 | 0.867 | 0.924 | 0.70102
| negatives <0.5 | positives >0.5 | [11 empty] | mean SD
| 76 | 160 | [11 empty] | 0.88729
| 32.2% | 67.8%
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Calibration 1
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 1
Date | 2025-02-10
Time | 13:15
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.154 | 0.204 | 0.22 | 0.264 | 0.288 | 0.377 | 0.449 | 0.534 | 0.049 | 0.049 | 0.048 | 0.049 | 610
| B | 0.163 | 0.204 | 0.223 | 0.24 | 0.294 | 0.373 | 0.423 | 0.539 | 0.048 | 0.047 | 0.049 | 0.049 | 610
| C | 0.049 | 0.049 | 0.049 | 0.049 | 0.048 | 0.048 | 0.048 | 0.049 | 0.049 | 0.049 | 0.049 | 0.048 | 610
| D | 0.049 | 0.049 | 0.049 | 0.048 | 0.048 | 0.048 | 0.048 | 0.048 | 0.048 | 0.05 | 0.052 | 0.047 | 610
| E | 0.048 | 0.05 | 0.05 | 0.049 | 0.048 | 0.048 | 0.048 | 0.049 | 0.048 | 0.049 | 0.048 | 0.048 | 610
| F | 0.049 | 0.049 | 0.048 | 0.051 | 0.05 | 0.048 | 0.048 | 0.049 | 0.048 | 0.049 | 0.048 | 0.049 | 610
| G | 0.048 | 0.048 | 0.049 | 0.049 | 0.049 | 0.051 | 0.049 | 0.049 | 0.048 | 0.047 | 0.047 | 0.048 | 610
| H | 0.048 | 0.048 | 0.048 | 0.049 | 0.049 | 0.052 | 0.049 | 0.049 | 0.048 | 0.048 | 0.048 | 0.049 | 610

## Calibration 2
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 2
Date | 2025-02-10
Time | 13:42
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.149 | 0.198 | 0.213 | 0.254 | 0.278 | 0.361 | 0.431 | 0.514 | 0.049 | 0.049 | 0.048 | 0.049 | 610
| B | 0.159 | 0.188 | 0.213 | 0.233 | 0.284 | 0.357 | 0.409 | 0.525 | 0.048 | 0.048 | 0.049 | 0.049 | 610
| C | 0.049 | 0.049 | 0.046 | 0.049 | 0.048 | 0.048 | 0.047 | 0.049 | 0.049 | 0.049 | 0.049 | 0.049 | 610
| D | 0.207 | 0.246 | 0.288 | 0.319 | 0.37 | 0.449 | 0.539 | 0.62 | 0.048 | 0.047 | 0.049 | 0.047 | 610
| E | 0.205 | 0.241 | 0.277 | 0.322 | 0.356 | 0.447 | 0.539 | 0.596 | 0.048 | 0.051 | 0.049 | 0.049 | 610
| F | 0.045 | 0.049 | 0.05 | 0.057 | 0.05 | 0.048 | 0.048 | 0.049 | 0.048 | 0.051 | 0.048 | 0.049 | 610
| G | 0.048 | 0.048 | 0.047 | 0.05 | 0.05 | 0.053 | 0.049 | 0.049 | 0.049 | 0.05 | 0.048 | 0.047 | 610
| H | 0.048 | 0.048 | 0.048 | 0.049 | 0.05 | 0.05 | 0.049 | 0.049 | 0.048 | 0.047 | 0.048 | 0.05 | 610

## Plate 1.1
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 3
Date | 2025-02-10
Time | 13:58
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.345 | 0.29 | 0.386 | 0.31 | 0.232 | 0.303 | 0.17 | 0.19 | 0.314 | 0.158 | 0.152 | 0.415 | 610
| B | 0.153 | 0.153 | 0.152 | 0.317 | 0.445 | 0.174 | 0.149 | 0.156 | 0.475 | 0.507 | 0.387 | 0.299 | 610
| C | 0.449 | 0.38 | 0.292 | 0.458 | 0.32 | 0.207 | 0.48 | 0.487 | 0.48 | 0.383 | 0.405 | 0.414 | 610
| D | 0.393 | 0.322 | 0.307 | 0.154 | 0.511 | 0.415 | 0.16 | 0.152 | 0.298 | 0.465 | 0.151 | 0.166 | 610
| E | 0.361 | 0.394 | 0.42 | 0.472 | 0.352 | 0.383 | 0.34 | 0.448 | 0.266 | 0.421 | 0.267 | 0.206 | 610
| F | 0.458 | 0.359 | 0.491 | 0.343 | 0.385 | 0.176 | 0.379 | 0.422 | 0.173 | 0.226 | 0.154 | 0.213 | 610
| G | 0.162 | 0.288 | 0.377 | 0.326 | 0.16 | 0.511 | 0.438 | 0.163 | 0.351 | 0.422 | 0.284 | 0.298 | 610
| H | 0.393 | 0.198 | 0.431 | 0.265 | 0.348 | 0.458 | 0.458 | 0.241 | 0.447 | 0.479 | 0.43 | 0.151 | 610

## Plate 1.2
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 4
Date | 2025-02-10
Time | 14:06
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.331 | 0.259 | 0.421 | 0.321 | 0.229 | 0.347 | 0.161 | 0.185 | 0.338 | 0.152 | 0.148 | 0.381 | 610
| B | 0.158 | 0.154 | 0.155 | 0.398 | 0.419 | 0.196 | 0.149 | 0.162 | 0.473 | 0.484 | 0.408 | 0.336 | 610
| C | 0.489 | 0.391 | 0.326 | 0.471 | 0.355 | 0.224 | 0.455 | 0.468 | 0.456 | 0.401 | 0.426 | 0.431 | 610
| D | 0.414 | 0.367 | 0.386 | 0.178 | 0.489 | 0.488 | 0.158 | 0.147 | 0.353 | 0.547 | 0.155 | 0.164 | 610
| E | 0.424 | 0.441 | 0.408 | 0.464 | 0.378 | 0.402 | 0.416 | 0.432 | 0.274 | 0.477 | 0.263 | 0.184 | 610
| F | 0.497 | 0.385 | 0.503 | 0.434 | 0.464 | 0.169 | 0.421 | 0.458 | 0.163 | 0.229 | 0.173 | 0.214 | 610
| G | 0.255 | 0.361 | 0.378 | 0.38 | 0.19 | 0.459 | 0.45 | 0.205 | 0.381 | 0.467 | 0.413 | 0.345 | 610
| H | 0.44 | 0.283 | 0.47 | 0.37 | 0.42 | 0.45 | 0.443 | 0.413 | 0.392 | 0.399 | 0.447 | 0.147 | 610

## Plate 1.3
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 5
Date | 2025-02-10
Time | 14:16
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.318 | 0.241 | 0.491 | 0.313 | 0.212 | 0.32 | 0.16 | 0.183 | 0.292 | 0.154 | 0.146 | 0.396 | 610
| B | 0.153 | 0.151 | 0.153 | 0.316 | 0.407 | 0.175 | 0.144 | 0.149 | 0.43 | 0.442 | 0.365 | 0.315 | 610
| C | 0.48 | 0.416 | 0.298 | 0.452 | 0.369 | 0.234 | 0.476 | 0.465 | 0.428 | 0.367 | 0.387 | 0.363 | 610
| D | 0.423 | 0.394 | 0.355 | 0.151 | 0.528 | 0.437 | 0.157 | 0.148 | 0.31 | 0.432 | 0.142 | 0.158 | 610
| E | 0.401 | 0.442 | 0.423 | 0.49 | 0.426 | 0.45 | 0.345 | 0.48 | 0.305 | 0.448 | 0.279 | 0.183 | 610
| F | 0.492 | 0.386 | 0.497 | 0.447 | 0.496 | 0.169 | 0.396 | 0.463 | 0.16 | 0.215 | 0.166 | 0.224 | 610
| G | 0.16 | 0.352 | 0.373 | 0.354 | 0.152 | 0.46 | 0.409 | 0.156 | 0.386 | 0.436 | 0.347 | 0.327 | 610
| H | 0.403 | 0.239 | 0.436 | 0.358 | 0.402 | 0.347 | 0.448 | 0.28 | 0.414 | 0.459 | 0.414 | 0.144 | 610

## Plate 2.1
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 6
Date | 2025-02-10
Time | 14:25
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.296 | 0.411 | 0.478 | 0.155 | 0.164 | 0.192 | 0.476 | 0.476 | 0.332 | 0.153 | 0.431 | 0.153 | 610
| B | 0.418 | 0.381 | 0.445 | 0.458 | 0.152 | 0.43 | 0.406 | 0.174 | 0.437 | 0.437 | 0.449 | 0.159 | 610
| C | 0.479 | 0.155 | 0.19 | 0.425 | 0.152 | 0.15 | 0.15 | 0.393 | 0.155 | 0.155 | 0.171 | 0.363 | 610
| D | 0.152 | 0.175 | 0.16 | 0.154 | 0.152 | 0.192 | 0.479 | 0.503 | 0.496 | 0.154 | 0.346 | 0.151 | 610
| E | 0.152 | 0.159 | 0.159 | 0.15 | 0.148 | 0.413 | 0.16 | 0.287 | 0.153 | 0.459 | 0.167 | 0.301 | 610
| F | 0.152 | 0.154 | 0.177 | 0.167 | 0.241 | 0.158 | 0.144 | 0.505 | 0.315 | 0.151 | 0.16 | 0.464 | 610
| G | 0.154 | 0.14 | 0.153 | 0.17 | 0.399 | 0.372 | 0.329 | 0.153 | 0.16 | 0.302 | 0.161 | 0.182 | 610
| H | 0.15 | 0.154 | 0.154 | 0.451 | 0.461 | 0.144 | 0.145 | 0.15 | 0.247 | 0.16 | 0.489 | 0.445 | 610

## Plate 2.2
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 7
Date | 2025-02-10
Time | 14:32
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.382 | 0.455 | 0.473 | 0.153 | 0.183 | 0.213 | 0.461 | 0.482 | 0.331 | 0.164 | 0.473 | 0.166 | 610
| B | 0.446 | 0.483 | 0.421 | 0.417 | 0.152 | 0.475 | 0.463 | 0.165 | 0.421 | 0.464 | 0.417 | 0.161 | 610
| C | 0.481 | 0.155 | 0.232 | 0.459 | 0.153 | 0.159 | 0.148 | 0.374 | 0.153 | 0.156 | 0.198 | 0.401 | 610
| D | 0.152 | 0.181 | 0.166 | 0.153 | 0.15 | 0.205 | 0.455 | 0.454 | 0.421 | 0.151 | 0.326 | 0.154 | 610
| E | 0.153 | 0.156 | 0.154 | 0.151 | 0.152 | 0.428 | 0.159 | 0.277 | 0.149 | 0.398 | 0.168 | 0.311 | 610
| F | 0.158 | 0.155 | 0.19 | 0.186 | 0.257 | 0.17 | 0.153 | 0.463 | 0.306 | 0.153 | 0.176 | 0.46 | 610
| G | 0.162 | 0.16 | 0.154 | 0.187 | 0.413 | 0.4 | 0.355 | 0.156 | 0.154 | 0.296 | 0.157 | 0.185 | 610
| H | 0.153 | 0.158 | 0.155 | 0.41 | 0.413 | 0.144 | 0.146 | 0.145 | 0.249 | 0.165 | 0.475 | 0.421 | 610

## Plate 2.3
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 8
Date | 2025-02-10
Time | 15:21
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.373 | 0.47 | 0.53 | 0.186 | 0.211 | 0.257 | 0.512 | 0.536 | 0.378 | 0.185 | 0.478 | 0.178 | 610
| B | 0.448 | 0.475 | 0.464 | 0.5 | 0.184 | 0.494 | 0.499 | 0.208 | 0.446 | 0.481 | 0.452 | 0.196 | 610
| C | 0.514 | 0.185 | 0.278 | 0.491 | 0.186 | 0.19 | 0.179 | 0.434 | 0.184 | 0.185 | 0.21 | 0.342 | 610
| D | 0.185 | 0.214 | 0.198 | 0.18 | 0.179 | 0.237 | 0.493 | 0.509 | 0.486 | 0.184 | 0.374 | 0.177 | 610
| E | 0.172 | 0.183 | 0.186 | 0.185 | 0.188 | 0.541 | 0.202 | 0.381 | 0.183 | 0.474 | 0.206 | 0.354 | 610
| F | 0.184 | 0.18 | 0.235 | 0.21 | 0.333 | 0.205 | 0.19 | 0.497 | 0.399 | 0.183 | 0.21 | 0.515 | 610
| G | 0.183 | 0.178 | 0.19 | 0.23 | 0.468 | 0.507 | 0.426 | 0.192 | 0.192 | 0.341 | 0.195 | 0.228 | 610
| H | 0.204 | 0.203 | 0.196 | 0.531 | 0.572 | 0.201 | 0.2 | 0.203 | 0.384 | 0.221 | 0.573 | 0.529 | 610

## Plate 3.1
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 9
Date | 2025-02-10
Time | 15:30
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.346 | 0.176 | 0.223 | 0.512 | 0.203 | 0.496 | 0.32 | 0.207 | 0.261 | 0.194 | 0.389 | 0.503 | 610
| B | 0.178 | 0.18 | 0.19 | 0.504 | 0.526 | 0.452 | 0.521 | 0.252 | 0.511 | 0.297 | 0.482 | 0.543 | 610
| C | 0.385 | 0.422 | 0.279 | 0.492 | 0.189 | 0.458 | 0.504 | 0.428 | 0.43 | 0.188 | 0.19 | 0.486 | 610
| D | 0.459 | 0.192 | 0.292 | 0.502 | 0.503 | 0.21 | 0.316 | 0.511 | 0.205 | 0.192 | 0.195 | 0.213 | 610
| E | 0.511 | 0.546 | 0.188 | 0.192 | 0.22 | 0.18 | 0.212 | 0.21 | 0.21 | 0.192 | 0.19 | 0.194 | 610
| F | 0.172 | 0.179 | 0.182 | 0.184 | 0.185 | 0.193 | 0.183 | 0.189 | 0.184 | 0.188 | 0.191 | 0.182 | 610
| G | 0.187 | 0.209 | 0.212 | 0.213 | 0.212 | 0.212 | 0.35 | 0.21 | 0.208 | 0.207 | 0.207 | 0.19 | 610
| H | 0.185 | 0.208 | 0.208 | 0.21 | 0.209 | 0.208 | 0.207 | 0.208 | 0.204 | 0.203 | 0.2 | 0.201 | 610

## Plate 3.2
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 10
Date | 2025-02-10
Time | 15:36
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.339 | 0.186 | 0.233 | 0.485 | 0.2 | 0.45 | 0.335 | 0.2 | 0.279 | 0.184 | 0.505 | 0.463 | 610
| B | 0.178 | 0.179 | 0.187 | 0.504 | 0.496 | 0.461 | 0.45 | 0.271 | 0.457 | 0.387 | 0.437 | 0.474 | 610
| C | 0.387 | 0.445 | 0.298 | 0.51 | 0.188 | 0.422 | 0.509 | 0.425 | 0.503 | 0.227 | 0.369 | 0.424 | 610
| D | 0.424 | 0.238 | 0.284 | 0.459 | 0.503 | 0.215 | 0.357 | 0.511 | 0.49 | 0.407 | 0.367 | 0.333 | 610
| E | 0.453 | 0.503 | 0.444 | 0.186 | 0.206 | 0.188 | 0.194 | 0.229 | 0.386 | 0.323 | 0.312 | 0.365 | 610
| F | 0.212 | 0.19 | 0.401 | 0.186 | 0.181 | 0.187 | 0.184 | 0.19 | 0.311 | 0.344 | 0.344 | 0.384 | 610
| G | 0.211 | 0.251 | 0.182 | 0.189 | 0.221 | 0.181 | 0.193 | 0.188 | 0.204 | 0.275 | 0.276 | 0.193 | 610
| H | 0.209 | 0.449 | 0.191 | 0.182 | 0.188 | 0.195 | 0.187 | 0.195 | 0.191 | 0.245 | 0.255 | 0.225 | 610

## Plate 3.3
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\silke\20251002_chloride asssay_library.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Silke\Chloride Assay.prt
Plate Number | Plate 11
Date | 2025-02-10
Time | 15:42
Reader Type: | Eon
Reader Serial Number: | 1312162D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 610
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL1 | SPL9 | SPL17 | SPL25 | Well ID
| B | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL2 | SPL10 | SPL18 | SPL26 | Well ID
| C | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL3 | SPL11 | SPL19 | SPL27 | Well ID
| D | SPL1 | SPL3 | SPL5 | SPL7 | SPL9 | SPL11 | SPL13 | SPL15 | SPL4 | SPL12 | SPL20 | SPL28 | Well ID
| E | SPL2 | SPL4 | SPL6 | SPL8 | SPL10 | SPL12 | SPL14 | SPL16 | SPL5 | SPL13 | SPL21 | SPL29 | Well ID
| F | SPL33 | SPL36 | SPL39 | SPL42 | SPL45 | SPL48 | SPL51 | SPL54 | SPL6 | SPL14 | SPL22 | SPL30 | Well ID
| G | SPL34 | SPL37 | SPL40 | SPL43 | SPL46 | SPL49 | SPL52 | SPL55 | SPL7 | SPL15 | SPL23 | SPL31 | Well ID
| H | SPL35 | SPL38 | SPL41 | SPL44 | SPL47 | SPL50 | SPL53 | SPL56 | SPL8 | SPL16 | SPL24 | SPL32 | Well ID
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.365 | 0.185 | 0.234 | 0.54 | 0.202 | 0.522 | 0.391 | 0.208 | 0.289 | 0.186 | 0.456 | 0.528 | 610
| B | 0.187 | 0.185 | 0.193 | 0.506 | 0.52 | 0.482 | 0.51 | 0.304 | 0.517 | 0.334 | 0.502 | 0.508 | 610
| C | 0.422 | 0.477 | 0.302 | 0.535 | 0.186 | 0.425 | 0.526 | 0.432 | 0.526 | 0.191 | 0.191 | 0.506 | 610
| D | 0.461 | 0.181 | 0.271 | 0.494 | 0.486 | 0.198 | 0.324 | 0.507 | 0.204 | 0.205 | 0.185 | 0.203 | 610
| E | 0.504 | 0.51 | 0.184 | 0.184 | 0.22 | 0.18 | 0.207 | 0.21 | 0.207 | 0.207 | 0.19 | 0.204 | 610
| F | 0.183 | 0.181 | 0.184 | 0.185 | 0.181 | 0.182 | 0.183 | 0.18 | 0.177 | 0.176 | 0.181 | 0.175 | 610
| G | 0.048 | 0.048 | 0.048 | 0.049 | 0.049 | 0.047 | 0.048 | 0.049 | 0.048 | 0.049 | 0.047 | 0.048 | 610
| H | 0.048 | 0.048 | 0.048 | 0.048 | 0.048 | 0.049 | 0.049 | 0.05 | 0.047 | 0.048 | 0.048 | 0.049 | 610